Water Bacteriological analysis questionnaire/Report form

| Sample reference number …………………….… | Lab No………………………………………… |
| --- | --- |
| CONTACT INFORMATION Contact person …………………………………. Authority………………………………….…… Telephone number………………………….… Email …………………………………….…… County: ………………………………….… Submitted by. .……………………………… | SAMPLE INFORMATION Collection date: ……………. Time……………… Collected by ……………………………………… Received in the lab: Date: …… Time: …………… Received by: ……………………………………… Date examined…………………………………… Is it treated (Yes) (No) If so how ............................................................... |
| SAMPLE INFORMATION Source of specimen (well, spring, stream or public supply) ……………………………………………… Exact site sample was taken from ……………………………………………………. Are there any sources of pollution (Yes) (No) If so what is the source of pollution? …………………………………………………… Is it protected (Yes) (No) If so, how…………………………………………… | Reason for sampling (Tick appropriately) - Routine surveillance - Outbreak - Survey - Check for quality - Suspected of causing ill health Is this sample a repeat (Yes) (No)? If yes, what is the reason for repeat sampling ……………………………………………………… |
| Samples shall be accepted from Monday to Friday between 8am to 3pm. Sample (s) should be collected in sterile bottles and submitted in the lab within 6 hours of collection, otherwise they should be refrigerated at 4oC to 8oC and submitted within 24 hours. The amount of the water sample should not be less than 250mls |  |

FOR OFFICIAL USE: REPORT

Presumptive coliform test

Coliform count: ....................................................................................................................................

Escherichia coli: ...............................................................................................................................

Others pathogens isolated ...................................................................................................................................................

Comment.........................................................................................................................................................................

REFERENCE RANGES AND INTERPRETATION

Treated water

| Class | Comment | Coliform count (per 100 ml) | E .coli count (per 100 ml) |
| --- | --- | --- | --- |
| I | High satisfactory | 0 | 0 |
| II | Satisfactory | 1-2 | 0 |
| III | Suspicious | 3-10 | 0 |
| IV | Unsatisfactory | >10 | 0,1 or more |

Untreated water

| Comment | Coliform count (per 100 ml) | E. coli count (per 100 ml) |
| --- | --- | --- |
| Satisfactory | 0 to 25 | 0 |
| Unsatisfactory | More than 0 to 25 | Presence of E.coli |

Compiled by…………………………………… Date……………..............................…………….

Reviewed by………………………………….  Date……………..............................…………….